William Harvey Research Institute

Laboratory Procedure and COSHH Risk Assessment

Group:

Assessment identifier:	RA-21

Date of assessment:	July 2013

Date for review:		August 2014

Title of Procedure:	RNeasy kit

Location of Work:

Risk assessment RA-General must be followed at all times

Lab coats and Safety Glasses to be worn.

Section 1 – Description of Hazardous Material and Procedures including controls to be used

## This is a commercially supplied kit for the purification of total RNA from animal tissues, cells and bacteria.

Full protocol instructions are given in the instruction booklet provided with the kit and the user must read and understand the protocols given prior to starting the procedure.

The main hazards are included in this risk assessment. If the protocol used is different from the manufacturer’s then this risk assessment must be updated to include these changes.

CAUTION

Bleach or acidic solutions must not be added to the sample-preparation waste. Buffer RLC contains guanidine hydrochloride and RLT contains guanidine thiocyanate which can form highly reactive compounds when combined with bleach.

Buffer RLC: Guanidine hydrochloride. Signal Word: Warning

(Hazard statements: H319 Causes serious eye irritation. H315 Causes skin irritation. H302 Harmful if swallowed).

Buffer RLT: Guanidine thiocyanate. Signal Word: Danger

Hazard statements: H302 Harmful if swallowed. H312 Harmful in contact with skin. H331 Toxic if inhaled. H412 Harmful to aquatic life with long lasting effects. Contact with acids liberates very toxic gas. Must not be disposed down the sink – collect for specialist disposal.

If GM material used then the relevant GM risk assessments must be adhered to (GMRA…).

## SECTION 2 - Review of assessment

The person writing the assessment and the Head of Group must sign off the assessment.

Name of assessor: 					Signature:…………………

Name of Head of Group: 				Signature:…………………

## ………………………………………………………………………………………..

SECTION 3 - User Declaration

I have read this laboratory procedure and COSHH risk assessment and understand the risks and the measures that must be taken to control such risks. I will notify the lab manager/head of group of any changes to the methodology described here which may affect the Health & Safety of myself or others.

| NAME: Please print | SIGNATURE | DATE |
| --- | --- | --- |