William Harvey Research Institute

Laboratory Procedure and COSHH Risk Assessment

Group:

Assessment identifier:	RA-25

Date of assessment:	July 2013

Date for review:		August 2014

Title of Procedure:	Use of Stratalinker – UV crosslinking

Location of Work:

Risk assessment RA-General must be followed at all times

Lab coats and UV Safety Glasses to be worn.

Section 1 – Description of Hazardous Material and Procedures including controls to be used

The Stratalinker utilises UV light to crosslink DNA or RNA to nylon or nitrocellulose membranes as part of northern or Southern blotting.

The instructions for the machine (stored by the machine) must be read before using and followed at all times.

Wear UV protective safety glasses.

The UV irradiation will stop if the door is opened and this safety mechanism must not be tampered with.

However, for extra safety, do not open door while in use and never operate the Stratalinker with the door open. Never look at the UV bulbs.

Make sure the instrument is kept clean and that the door seals are not damaged/dirty before each use.

Do not touch/interfere with the sensor at the back of the unit chamber.

## SECTION 2 - Review of assessment

The person writing the assessment and the Head of Group must sign off the assessment.

Name of assessor: 					Signature:…………………

Name of Head of Group: 				Signature:…………………

## ………………………………………………………………………………………..

SECTION 3 - User Declaration

I have read this laboratory procedure and COSHH risk assessment and understand the risks and the measures that must be taken to control such risks. I will notify the lab manager/head of group of any changes to the methodology described here which may affect the Health & Safety of myself or others.

| NAME: Please print | SIGNATURE | DATE |
| --- | --- | --- |