William Harvey Research Institute

Laboratory Procedure and COSHH Risk Assessment

Group:

Assessment identifier:	RA-28

Date of assessment:	July 2013

Date for review:		August 2014

Title of Procedure:	CHEF Genomic DNA Plugs & RE Digestion

Location of Work:

Risk assessment RA-General must be followed at all times

Lab coats and Safety Glasses to be worn.

Section 1 – Description of Hazardous Material and Procedures including controls to be used

## This is to prepare genomic DNA gel plugs for analysis by pulse-field gel electrophoresis. The restriction enzyme digest is carried out with the gel plugs to reduce damage to the DNA (shearing during pipetting etc).

Chemicals

PMSF (phenylmethanesulfonyl fluoride). Signal Word: Danger

Hazard statements: H301 Toxic if swallowed. H314 Causes severe skin burns and eye damage.

Isopropanol. Signal Word: Danger

(Hazard statements: H225 Highly flammable liquid and vapour. H319 Causes serious eye irritation. H336 May cause drowsiness or dizziness).

Equipment

Water bath (50C) – Switch off after use. Keep topped up with water.

Haemocytometer

Microscope

Reagents

CHEF Genomic DNA Plug Kit (100)		Bio-Rad 170-3593

CleanCut Agarose (12ml)		Bio-Rad 170-3594

PMSF	Sigma P7626-5G (TOXIC)

100mM – add 0.174g to 10ml of 100% isopropanol (HIGHLY FLAMMABLE) – solution stable @ RT for 1 year. Make up solution in fumehood.

HinfI (1000 units  20 plugs)	Invitrogen 15223-019

PROTOCOL

Preparation of Agarose-Embedded Mammalian DNA

- Prepare cell suspension in isotonic saline or tissue medium WITHOUT BSA

- Count cells & remove 5 x 105 cells per ml of agarose plugs to be made (use 100l/plug for disposable mould or 300l/ml for reusable mould) – place on ice

- Melt 2% CleanCut agarose solution carefully in microwave (Container lid must be loosened) and equilibrate solution to 50C in water bath

- Calculate amount of Cell Suspension Buffer and CleanCut agarose required

- For final conc of 0.75% agarose use 0.63ml Cell Suspension Buffer per ml of agarose plugs

- Use 0.37ml of 2% CleanCut Agarose per ml of agarose plugs

- Centrifuge cell suspension @ 1000g for 5 mins @ 4C

- Re-suspend cells in Cell Suspension Buffer (calculated above) and equilibrate @ 50C

- Combine calculated volume of 2% CleanCut Agarose with cell suspension and mix GENTLY.

- Keeping mix @ 50C, use a sterile transfer pipette to transfer the mix to plug moulds

- Allow agarose to solidify – can be expedited by placing moulds @ 4C for 10-15 mins.

- Using 50ml conical centrifuge tube – add 100l Proteinase K stock to 2.5ml Proteinase K Reaction Buffer for each ml of plugs

- Push solidified plugs into the 50ml tube & incubate o/n @ 50C WITHOUT agitation

- Wash plugs 4 x 1 hour each @ RT in 1x Wash Buffer with gentle agitation (for each plug use 1ml of 1x Wash Buffer)

- If plugs are to be digested  wash in 1mM PMSF during the 2nd or 3rd wash to inactivate residual Proteinase K (FUME HOOD)

- Store plugs @ 4C in 1x Wash Buffer (stable for 3 months)

Digestion of Plugs

- Place one plug per digest in sterile 1.5ml microfuge tube

- Wash once in 1ml of 0.1x Wash Buffer

- Decant and re-suspend in sufficient fresh 0.1x Wash Buffer to cover plugs

- Aspirate Wash Buffer

- Add 1ml of 1x restriction enzyme buffer for 1 hour with gentle agitation @ RT

- Aspirate enzyme buffer

- Add 0.3ml fresh 1x restriction enzyme buffer

- Add restriction enzyme (30-50U per 100l plug)

- Incubate o/n @ 37C

- Remove buffer

- Incubate in 1ml 1x Wash Buffer for 30mins with gentle agitation

- Remove Wash Buffer

- Equilibrate plug in appropriate concentration of gel running buffer

- Load ¼ to 1/3 of a plug per well (approx 50ug DNA)

- Reduce the volume in subsequent gels if necessary

| Desired Agarose Concentration | CleanCut Agarose 2%* | Cell Suspension Buffer* |
| --- | --- | --- |
| 1% | (0.5) x Vol = | (0.5) x Vol = |
| 0.75% | (0.375) x Vol = | (0.625) x Vol = |
| 0.5% | (0.25) x Vol = | (0.75) x Vol = |

Table 1: Agarose concentrations

* Vol is the total volume of plugs to be made @ 75l/plug i.e. for 5ml of plug @ 0.75% final conc, add (0.375) x 5ml = 1.9ml of 2% agarose to (0.625) x 5ml – 3.4ml cell suspension.

Accidental spillage

Absorb PMSF solution onto paper towels or absorption granules – seal waste in bag for disposal.

Disposal

Aqueous, non-toxic solution to the sink.

PMSF/Isoppropanol – stored for specialist disposal.

If GM material used then the relevant GM risk assessments must be adhered to (GMRA…).

## SECTION 9 - Review of assessment

The person writing the assessment and the Head of Group must sign off the assessment.

Name of assessor: 					Signature:…………………

Name of Head of Group: 				Signature:…………………

## ………………………………………………………………………………………..

SECTION 3 - User Declaration

I have read this laboratory procedure and COSHH risk assessment and understand the risks and the measures that must be taken to control such risks. I will notify the lab manager/head of group of any changes to the methodology described here which may affect the Health & Safety of myself or others.

| NAME: Please print | SIGNATURE | DATE |
| --- | --- | --- |