William Harvey Research Institute

Laboratory Procedure and COSHH Risk Assessment

Group:

Assessment identifier:	RA-29

Date of assessment:	July 2013

Date for review:		September 2014

Title of Procedure:	Real-time Quantitative Telomere Repeat Amplification Protocol (RTQ-TRAP)

Location of Work:

Risk assessment RA-General must be followed at all times

Lab coats and Safety Glasses to be worn.

Section 1 – Description of Hazardous Material and Procedures including controls to be used

Based on the method of Hou et al., Clin Chem, 2001.

Hazards

Low risk procedure.

CHAPS buffer. Signal Word: Danger

Hazard statements: H315 Causes skin irritation. H319 Causes serious eye irritation. H335 May cause respiratory irritation. H360D May damage the unborn child.

Competence with PCR equipment required – high temperatures.

Reagents

Primer TS			Sigma

Primer CX			Sigma

SbrGreen Mastermix	ABI

Method

- Lyse cells (1-2 x 106) in 50l CHAPS buffer containing RNase inhibitor

- Incubate for 30mins @ 4C

- Centrifuge lysate @ 12,000g for 20mins @ 4C

- Collect supernatant

- Determined protein concentration using Coomassie Protein Assay using BSA as standard and adjusted to 250 ng/ml (we can use the NanoDrop for this step)

- Human cell line, PC3, used to set up standard curve

- Human cell line, MCF10, used as a positive control

PCR

- 25l total volume

- 1x SybrGreen mastermix (ABI)

- 0.1ug primer TS 	(5’-AATCCGTCGAGCAGAGTT-3’)

- 0.05ug primer ACX	(5’-GCGCGG[CTTACC]3CTAACC-3’)

- PCR – (competence required)

  - 25C for 20 mins

  - 95C 10 mins

  - 40 cycles of

    - 95C, 20s

    - 60C, 30s

    - 72C, 90s

- Telomerase activity based on the Ct value

Notes:		Assay time approx 3 hours.

Results are relative to the cell line used as a control.

Low activity picked up (missed by commercial TRAP-ELISA)

If GM material used then the relevant GM risk assessments must be adhered to (GMRA…).

Disposal

Small volumes, low hazard – to the sink with plenty of water.

## SECTION 2 - Review of assessment

The person writing the assessment and the Head of Group must sign off the assessment.

Name of assessor: 					Signature:…………………

Name of Head of Group: 				Signature:…………………

## ………………………………………………………………………………………..

SECTION 3 - User Declaration

I have read this laboratory procedure and COSHH risk assessment and understand the risks and the measures that must be taken to control such risks. I will notify the lab manager/head of group of any changes to the methodology described here which may affect the Health & Safety of myself or others.

| NAME: Please print | SIGNATURE | DATE |
| --- | --- | --- |